Document Title: SciAps Complete Periodic Table - Limits of Detection

Rev: Dec 2025

| Layout Preview | English Text | Translated Text |
| --- | --- | --- |
|  | XRF Limits of Detection |  |
|  | available with SciAps LIBS |  |
|  | < 2000 ppm |  |
|  | < 300 ppm |  |
|  | < 50 ppm |  |
|  | < 25 ppm |  |
|  | < 10 ppm |  |
|  | < 5 ppm |  |
|  | Element Symbol |  |
|  | Cadmium |  |
|  | Element Name |  |
|  | For more information, or to schedule a demonstration: |  |
|  | Detection limit estimations assume an interference-free silicon dioxide sample matrix based on three sigma, 99.7% confidence level and 120-second beam times. Limits of detection may be higher depending on the concentration of specific interfering elements and or overall matrix density. |  |
|  | Detection limits assume optimal X-500 series model for each element (e.g. X-505, X-550, X-555). |  |
|  | Lanthanide LOD’s are estimated based on K-line analysis using 55kV excitation of X-555. L-line analysis is generally not practical in geological matrices due to severe spectral overlaps with common transition metal elements. In unique matrices, improved LOD’s can be achieved using L-line emissions. |  |
| Order of elements described goes from left to right, top column to bottom column. |  |  |
|  | Hydrogen |  |
|  | Helium |  |
|  | Lithium |  |
|  | Beryllium |  |
|  | Boron |  |
|  | Carbon |  |
|  | Nitrogen |  |
|  | Oxygen |  |
|  | Fluorine |  |
|  | Neon |  |
|  | Sodium |  |
|  | Magnesium |  |
|  | Aluminum |  |
|  | Silicon |  |
|  | Phosphorus |  |
|  | Sulfur |  |
|  | Chlorine |  |
|  | Argon |  |
|  | Potassium |  |
|  | Calcium |  |
|  | Scandium |  |
|  | Titanium |  |
|  | Vanadium |  |
|  | Chromium |  |
|  | Manganese |  |
|  | Iron |  |
|  | Cobalt |  |
|  | Nickel |  |
|  | Copper |  |
|  | Zinc |  |
|  | Gallium |  |
|  | Germanium |  |
|  | Arsenic |  |
|  | Selenium |  |
|  | Bromine |  |
|  | Krypton |  |
|  | Rubidium |  |
|  | Strontium |  |
|  | Yttrium |  |
|  | Zirconium |  |
|  | Niobium |  |
|  | Molybdenum |  |
|  | Technetium |  |
|  | Ruthenium |  |
|  | Rhodium |  |
|  | Palladium |  |
|  | Silver |  |
|  | Cadmium |  |
|  | Indium |  |
|  | Tin |  |
|  | Antimony |  |
|  | Tellurium |  |
|  | Iodine |  |
|  | Xenon |  |
|  | Cesium |  |
|  | Barium |  |
|  | Hafnium |  |
|  | Tantalum |  |
|  | Tungsten |  |
|  | Rhenium |  |
|  | Osmium |  |
|  | Iridium |  |
|  | Platinum |  |
|  | Gold |  |
|  | Mercury |  |
|  | Thallium |  |
|  | Lead |  |
|  | Bismuth |  |
|  | Polonium |  |
|  | Astatine |  |
|  | Radon |  |
|  | Francium |  |
|  | Radium |  |
|  | Lanthanum |  |
|  | Cerium |  |
|  | Praseodymium |  |
|  | Neodymium |  |
|  | Promethium |  |
|  | Samarium |  |
|  | Europium |  |
|  | Gadolinium |  |
|  | Terbium |  |
|  | Dysprosium |  |
|  | Holmium |  |
|  | Erbium |  |
|  | Thulium |  |
|  | Ytterbium |  |
|  | Lutetium |  |
|  | Actinium |  |
|  | Thorium |  |
|  | Protactinium |  |
|  | Uranium |  |
|  | Neptunium |  |
|  | Plutonium |  |
|  | Americium |  |
|  | Curium |  |
|  | Berkelium |  |
|  | Californium |  |
|  | Einsteinium |  |
|  | Fermium |  |
|  | Mendelevium |  |
|  | Nobelium |  |
|  | Lawrencium |  |
| [back] |  |  |
|  | Model |  |
|  | Z-901 Alloy |  |
|  | Z-901 CSi |  |
|  | Z-901 Li |  |
|  | Z-902 Alloy |  |
|  | Z-902 Carbon |  |
|  | Z-903 Geo |  |
|  | Z-903 Carbon |  |
|  | Spectral Range (nm) |  |
|  | 200 - 420 |  |
|  | 190 - 260 |  |
|  | 380 - 680 |  |
|  | 190 - 620 |  |
|  | 190 - 420 |  |
|  | 190 - 950 |  |
|  | 190 - 620 |  |
|  | Best Application |  |
|  | General alloy testing for scrap sorting, PMI/NDT or quality assurance. Does not measure carbon. |  |
|  | Analyzes carbon and silicon only. The perfect complement to your XRF. |  |
|  | Purpose built for lithium in soils, ores and rocks. |  |
|  | Measures 15-20 elements in 7 common alloy bases, including aluminum, stainless, iron, copper, titanium, nickel and cobalt. |  |
|  | Identification of stainless steels and low alloy steels, including carbon analysis down to 70 ppm and instant CE calculations. |  |
|  | Measures every element in the periodic table – from H to U. |  |
|  | Extends the range of Z-902 Carbon to include lithium and improves limits of detection on transition elements. |  |
|  | Best Application |  |
|  | Basic sorting of SS, high temps and red metals. Only sort Al alloys by MLC’s and 2000’s and 7000’s. |  |
|  | Great choice for scrap processing and NDT due to speed and analytical performance. |  |
|  | Great on low alloy, Cr/Mo steels, stainless and corrosion resistant alloys and precious metals. how to separate from X-50 |  |
|  | Great for scrap processing, PMI/NDT, soil testing, mining and more! |  |
|  | Optimized for key PMI applications, Great on high temp alloys and precious metals. light elements/aluminum alloys, lead paint |  |
|  | Made for REE’s - low detection limits on key elements like Ag, Cd, Sn, Sb, and Ba with optimal performance across the entire periodic table from Mg to U. |  |